|  |

| **型式の区分** (Type Classification) |
| --- |

 |
| --- | --- | --- |
|  | **特 定 電 気 用 品 名**(Name of Specified Electrical Appliance and Material) | **:** | 直流電源装置 (DC power supply units) |
|  | **要　素** (Factor) | **区　分** (Classification) |
|  | 定格入力電圧 (Rated input voltage) | [ ]  (1) 125Ｖ以下のもの (125V or less)[ ]  (2) 125Ｖを超えるもの (Exceeding 125V) |
|  | 入力側の定格容量 (Rated capacity on input side) | [ ]  (1) 10VA以下のもの (10VA or less)[ ]  (2) 10VAを超え20VA以下のもの (Exceeding 10VA, and less than or equal to 20VA)[ ]  (3) 20VAを超え30VA以下のもの (Exceeding 20VA, and less than or equal to 30VA)[ ]  (4) 30VAを超え40VA以下のもの (Exceeding 30VA, and less than or equal to 40VA)[ ]  (5) 40VAを超え50VA以下のもの (Exceeding 40VA, and less than or equal to 50VA)[ ]  (6) 50VAを超え60VA以下のもの (Exceeding 50VA, and less than or equal to 60VA)[ ]  (7) 60VAを超え70VA以下のもの (Exceeding 60VA, and less than or equal to 70VA)[ ]  (8) 70VAを超え80VA以下のもの (Exceeding 70VA, and less than or equal to 80VA)[ ]  (9) 80VAを超え90VA以下のもの (Exceeding 80VA, and less than or equal to 90VA)[ ]  (10) 90VAを超え100VA以下のもの (Exceeding 90VA, and less than or equal to 100VA)[ ]  (11) 100VAを超え200VA以下のもの (Exceeding 100VA, and less than or equal to 200VA)[ ]  (12) 200VAを超え300VA以下のもの (Exceeding 200VA, and less than or equal to 300VA)[ ]  (13) 300VAを超え400VA以下のもの (Exceeding 300VA, and less than or equal to 400VA)[ ]  (14) 400VAを超えるもの (Exceeding 400VA) |
|  | 定格周波数（変圧器を有するものの場合に限る。） (Rated frequency (limited to those with transformers.)) | [ ]  (1) 50Hzのもの (50Hz)[ ]  (2) 60Hzのもの (60Hz) |
|  | 交流用端子 (Alternating current terminal) | [ ]  (1) あるもの (With A.C. terminal)[ ]  (2) ないもの (Without A.C. terminal) |
|  | 直流定格電圧 (Rated direct current voltage) | [ ]  (1) 15Ｖ以下のもの (15V or less)[ ]  (2) 15Ｖを超え30Ｖ以下のもの (Exceeding 15V, and less than or equal to 30V)[ ]  (3) 30Ｖを超え60Ｖ以下のもの (Exceeding 30V, and less than or equal to 60V)[ ]  (4) 60Ｖを超えるもの (Exceeding 60V) |
|  | 変圧器 (Transformer) | [ ]  (1) あるもの (With transformer)[ ]  (2) ないもの (Without transformer) |
|  | 変圧器の巻線の絶縁の種類 (Transformer winding insulation class) | [ ]  (1) Ａ種のもの (Class A)[ ]  (2) Ｅ種のもの (Class E)[ ]  (3) Ｂ種のもの (Class B)[ ]  (4) Ｆ種のもの (Class F)[ ]  (5) Ｈ種のもの (Class H)[ ]  (6) その他のもの (Others) |
|  | 直流電圧の調整装置 (D.C. voltage adjusting mechanism) | [ ]  (1) あるもの (With adjusting mechanism)[ ]  (2) ないもの (Without adjusting mechanism) |
|  | 回路の保護機構 (Circuit protection device) | [ ]  (1) あるもの (With circuit protection device)[ ]  (2) ないもの (Without circuit protection device) |
|  | 器体スイッチ（主回路を開閉するものの場合に限り、自動スイッチ及び自動温度調節器を除く。） (Body switch (limited to those used for turning the main circuit on and off, and excluding temperature limiters and thermostats.)) | [ ]  (1) あるもの (With body switch)[ ]  (2) ないもの (Without body switch) |
|  | 器体スイッチの操作の方式 (Switching operation of body switch) | [ ]  (1) タンブラー式のもの (Tumbler type)[ ]  (2) 押しボタン式のもの (Push button type)[ ]  (3) ロータリー式のもの (Rotary type)[ ]  (4) その他のもの (Others) |
|  | 器体スイッチの接点の材料 (Body switch contact materials) | [ ]  (1) 銀のもの又は銀合金のもの (Silver or silver alloy)[ ]  (2) 銅のもの又は銅合金のもの (Copper or copper alloy)[ ]  (3) その他のもの (Others) |
|  | 外郭の材料 (Outer case materials) | [ ]  (1) 金属のもの (Metal)[ ]  (2) 合成樹脂のもの (Plastic)[ ]  (3) その他のもの (Others) |
|  | 用途 (Application) | [ ]  (1) 電池充電用のもの (For battery chargers)[ ]  (2) おもちや用のもの (For toys)[ ]  (3) 自動車スタータ用のもの (For automobile starter)[ ]  (4) その他のもの (Others) |
|  | 電源電線と器体との接続の方式 (Power supply connections) | [ ]  (1) 直付けのもの (Fixed to the appliance)[ ]  (2) 接続器利用のもの (Coupling device) |
|  | 二重絶縁 (Double insulation) | [ ]  (1) 施してあるもの (With double insulation)[ ]  (2) 施してないもの (Without double insulation) |