Japan - DENAN (PSE mark) - Latest revision

Partial revision of “About Interpretation of Ministerial Ordinance for Establishing Technical Requirements for Electrical Appliances and Materials” 

It was announced by METI that “About Interpretation of Ministerial Ordinance for Establishing Technical Requirements for Electrical Appliances and Materials” was revised on June 1, 2026. 

The effective date of this revision is June 1, 2026. 

The outline of this revision is as follows.

(1) Appendix 2 (Conduits, floor ducts and raceways including their accessories), Appendix 3 (Fuses), and Appendix 5 (Current limiters) have been consolidated into harmonized standards in Appendix 12 in line with international standards.
The grace period for Appendix 2, Appendix 3, and Appendix 5 before revisions is until May 31, 2029.
(2) To reflect the latest international technical trends, the adopted JIS standards corresponding to the international standards(IEC standards) has been replaced with the latest version of JIS standards. 
　- JIS standards conforming to IEC standards that have already been adopted and are to 
    be replaced with newer editions: 12 standards
  - JIS standards to be newly adopted: none
  - Number of standards to be deleted due to the expiration of the grace period: 5 standards
For further details, refer to the next page.
(3) J1000 (H14) stipulated in Appendix 12 was revised to J1000(2026) in order to ensure consistency with the technical requirements concerning products having remote control mechanisms as specified in Appendix 4 and Appendix 8.  
There is no grace period for the pre-amendment version of J1000 (H14).












Harmonized standards adopted in Appendix 12: 
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The above standards are indicated in the the table linked below.
LINK:
Appendix 12: Standards alighed with International Standards
https://www.meti.go.jp/policy/consumer/seian/denan/kaishaku/gijutsukijunkaishaku/beppyoudai12_260601.pdf
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|960309-1(2026)

J1S C 8285:2025

TEC 60309-1 ed 5(2021)

[Pugs, fixed o portable socket-outlets and appliance inlets
/for industrial purposes - Part 1: General requirements

|760309-1(2019)
|Valid until 2029-05-31

J1S C 8285:2018

|960320-1(2026)

1918 © 8283-1:2025

TEC 60320°1 ed 4(2021)

|appliance couplers for household and similar general
[purposes - Part 1: General requirements

|760320-1(2021)
[Valid until 2029-05-31

J1S C 8283-1:2019+A1
(2021)

|760320-1(H26)

|15 © 8283-1:2012

|960335-2-16(2026)

J1S C 9335-2-16 2025

TEC 60335-2-16 &d 6 (2022)

|Household and similar electrical appliances - Safety - Part
2-16: Particular requirements for food waste disposers

760335-2-16 (2024)
Valid until 2029-05-31

1S C 9335-2-16
2015+A1(2023)

|960335-2-55(2026)

J1S C 9335-2-55 12025

TEC 60335-2-55 ed 4 (2021)

vt snd st et spptaces - Satey - o 255 Paractar
eegecements o et spptisncesfor s ik squasinmssad o ponds

|760335-2-55 (2024)
|Valid until 2029-05-31

1318 C 9335-2-55:2017
[+41(2023)

|960335-2-59(2026)

1J1S C 9335-2-59 :2025

[TEC 60335-2-59 ed 4(2021)

[Household and similar electrical appliances - Safety - Part
[2-59: Particular requirements for insect killers

J60335-2-59 (2024)
Valid until 2028-05-31

1318 C 9335-2-59:2015
|+41(2023)

|Boes and enclosures for electrical accessories for household

|960670-21(H29)

1918 C 8462-21:2016

. g TEC 60670-21 ¢d.1(2004)  |and similar fixed electrical installations - Part 21 Particular | Valid until 2029-05-31
6 |J60670-21(2026)  |JIS C 8462-21:2025 S Amd 12016 lrequirements for boxes and enclosures with provision for |J60670-1(HZ6)
|suspensionmeans |Valid until 2029-05-31 /15 C 84621:2012
|Bees and enclosures for electrical accessories for household |J60670-22(29) 518 © 8462-22:2016
7 |s60670-22(2028)  la1 € s462-22:2025 [IEC 60670-22 ed.1(2003)  |and similar fixed electrical installations - Part 22 Particular |Valid until 2029-05-31
+Amd.1:2015 [requirements for connecting boses and enclosures. 60670 1:126)
JTS © 8462-1:2012
|Valid until 2029-05-31
; ’ ; |axc welding cquipment - Part 7: Torches |760974-7(k129)
8 |J60974-7(2026)  |JIS C 9300-7:2025 TEC 60974-7 ed.4 (2019) it el 5029-05.31 |J18 € 9300-7:2017
. ~ IEC 61386-1 ed 2(2008) | Conduit systems for cable management - Part 1: General  |J61386-1(H26) ~
9 |J61386-12026)  |JIS C 8461-1:2025 " amd 19017 o - b uatil 20990531 |18 C 8461-1:2012
. - . | Conduit systems for cable management - Part 21 |761386-21(2019) -
10 |J61386-21(2026)  |JTS C 8461-21:2025 IEC 61386-21 24 202020 | e Valid until 2096-05-31 |91 C 8461-21:2019
- - g |Conduit System for cable management - Part 22: [61386-22(2019) )
11|J61386-22(2026) IS C 8461-22:2025 IEC 61386-22242 (2021) | e o Valid until 2020-05-31 |91 C 8461-22:2019
B 761386-23(2019)
12 |J61386-23(2026)  |JTS C 8461-23:2025 TEC 6138623 ed.2 (2021)  |Conduit systems for cable management - Part 23 ) IS C 8461-23:2019

[Particular requirements - Flexible conduit systems

Valid until 2029-05-31





