|  | | | **型式の区分** (Type Classification) | | --- | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | | **特 定 電 気 用 品 名**  (Name of Specified Electrical Appliance and Material) | | **:** | | その他の包装ヒューズ (Other enclosed fuses) | |
|  | | **要　素** (Factor) | | **区　分** (Classification) | |
|  | | 定格電圧 (Rated voltage) | | (1) 125Ｖ以下のもの (125V or less)  (2) 125Ｖを超えるもの (Exceeding 125V) | |
|  | | 定格電流（定格電流表示のあるものの場合に限る。） (Rated current (limited to those with rated current markings.)) | | (1) ５Ａ以下のもの (5A or less)  (2) ５Ａを超え15Ａ以下のもの (Exceeding 5A, and less than or equal to 15A)  (3) 15Ａを超え30Ａ以下のもの (Exceeding 15A, and less than or equal to 30A)  (4) 30Ａを超え60Ａ以下のもの (Exceeding 30A, and less than or equal to 60A)  (5) 60Ａを超え100Ａ以下のもの (Exceeding 60A, and less than or equal to 100A)  (6) 100Ａを超えるもの (Exceeding 100A) | |
|  | | 適用電動機の定格容量（定格電流表示のないものの場合に限る。） (Rated capacity of applicable motor (limited to those without rated current markings.)) | | (1) 単相で200Ｗ以下のもの (Single phase, 200W or less)  (2) 単相で200Ｗを超え400Ｗ以下のもの (Single phase, exceeding 200W, and less than or equal to 400W)  (3) 単相で400Ｗを超え750Ｗ以下のもの (Single phase, exceeding 400W, and less than or equal to 750W)  (4) 単相で750Ｗを超えるもの (Single phase, exceeding 750W)  (5) ３相で750Ｗ以下のもの (Three phase, 750W or less)  (6) ３相で750Ｗを超え2.2kW以下のもの (Three phase, exceeding 750W, and less than or equal to 2.2kW)  (7) ３相で2.2kWを超え3.7kW以下のもの (Three phase, exceeding 2.2kW, and less than or equal to 3.7kW)  (8) ３相で3.7kWを超え7.5kW以下のもの (Three phase, exceeding 3.7kW, and less than or equal to 7.5kW)  (9) ３相で7.5kWを超えるもの (Three phase, exceeding 7.5kW) | |
|  | | 可溶体の主材料 (Fuse element materials) | | (1) 銀のもの (Silver)  (2) アルミニウムのもの (Aluminum)  (3) 亜鉛のもの (Zinc)  (4) 鉛のもの (Lead)  (5) 銅のもの (Copper)  (6) その他のもの (Others) | |
|  | | 可溶体の数 (Number of fuse elements) | | (1) １のもの (One)  (2) ２以上のもの (Two or more) | |
|  | | 再使用（管形ヒューズを除く。） (Reusability (excluding cartridge fuses.)) | | (1) できるもの (Reusable)  (2) できないもの (Not reusable) | |
|  | | 内部充てん物 (Filler materials) | | (1) あるもの (With filler materials)  (2) ないもの (Without filler materials) | |
|  | | 筒（内筒を除く。）の材料 (Cartridge materials (excluding internal cartridge.)) | | (1) フェノール樹脂のもの (Phenol resin)  (2) ファイバーのもの (Fiber)  (3) 磁器のもの又はガラスのもの (Ceramic or glass)  (4) ポリエステル樹脂のもの (Polyester resin)  (5) メラミン樹脂のもの (Melamine resin)  (6) ユリア樹脂のもの (Urea resin)  (7) その他のもの (Others) | |
|  | | 端子 (Terminals) | | (1) 刃形のもの (Knife blade terminal)  (2) 筒形のもの (Tubular terminal)  (3) 締付け形のもの (Clamp terminal)  (4) リード線付きのもの (Lead terminal)  (5) その他のもの (Others) | |
|  | | 排気孔 (Exhausting opening) | | (1) あるもの (With exhausting opening)  (2) ないもの (Without exhausting opening) | |
|  | | 溶断の表示 (Blowout fuse indicator) | | (1) あるもの (With blowout fuse indicator)  (2) ないもの (Without blowout fuse indicator) | |
|  | | 用途 (Application) | | (1) 電動機用のもの (For use in electric motors)  (2) 電子機器用のもの (For use in electric appliances)  (3) 短絡保護専用のもの (For exclusive use in short circuit protectors)  (4) その他のもの (Others) | |
|  | | 定格遮断電流 (Rated breaking capacity) | | (1) 100Ａ以下のもの (100A or less)  (2) 100Ａを超え300Ａ以下のもの (Exceeding 100A, and less than or equal to 300A)  (3) 300Ａを超え500Ａ以下のもの (Exceeding 300A, and less than or equal to 500A)  (4) 500Ａを超え1,000Ａ以下のもの (Exceeding 500A, and less than or equal to 1,000A)  (5) 1,000Ａを超え1,500Ａ以下のもの (Exceeding 1,000A, and less than or equal to 1,500A)  (6) 1,500Ａを超え2,500Ａ以下のもの (Exceeding 1,500A, and less than or equal to 2,500A)  (7) 2,500Ａを超え5,000Ａ以下のもの (Exceeding 2,500A, and less than or equal to 5,000A)  (8) 5,000Ａを超え7,500Ａ以下のもの (Exceeding 5,000A, and less than or equal to 7,500A)  (9) 7,500Ａを超え10,000Ａ以下のもの (Exceeding 7,500A, and less than or equal to 10,000A)  (10) 10,000Ａを超え15,000Ａ以下のもの (Exceeding 10,000A, and less than or equal to 15,000A)  (11) 15,000Ａを超え20,000Ａ以下のもの (Exceeding 15,000A, and less than or equal to 20,000A)  (12) 20,000Ａを超え25,000Ａ以下のもの (Exceeding 20,000A, and less than or equal to 25,000A)  (13) 25,000Ａを超え30,000Ａ以下のもの (Exceeding 25,000A, and less than or equal to 30,000A)  (14) 30,000Ａを超えるもの (Exceeding 30,000A) | |