|  |

| **型式の区分** (Type Classification) |
| --- |

 |
| --- | --- | --- |
|  | **特 定 電 気 用 品 名**(Name of Specified Electrical Appliance and Material) | **:** | フロートスイッチ (Float switches) |
|  | **要　素** (Factor) | **区　分** (Classification) |
|  | 定格電圧 (Rated voltage) | [ ]  (1) 125Ｖ以下のもの (125V or less)[ ]  (2) 125Ｖを超えるもの (Exceeding 125V) |
|  | 定格電流（定格電流表示のあるものの場合に限る。） (Rated current (limited to those with rated current markings.)) | [ ]  (1) ７Ａ以下のもの (7A or less)[ ]  (2) ７Ａを超え10Ａ以下のもの (Exceeding 7A, and less than or equal to 10A)[ ]  (3) 10Ａを超え15Ａ以下のもの (Exceeding 10A, and less than or equal to 15A)[ ]  (4) 15Ａを超えるもの (Exceeding 15A) |
|  | 適用電動機の定格容量（適用電動機の定格容量表示のあるものの場合に限る。） (Rated capacity of applicable motor (limited to those with rated current markings for applicable motor.)) | [ ]  (1) 単相で200Ｗ以下のもの (Single phase, 200W or less)[ ]  (2) 単相で200Ｗを超え400Ｗ以下のもの (Single phase, exceeding 200W, and less than or equal to 400W)[ ]  (3) 単相で400Ｗを超え750Ｗ以下のもの (Single phase, exceeding 400W, and less than or equal to 750W)[ ]  (4) 単相で750Ｗを超えるもの (Single phase, exceeding 750W)[ ]  (5) ３相で750Ｗ以下のもの (Three phase, 750W or less)[ ]  (6) ３相で750Ｗを超え2.2kW以下のもの (Three phase, Exceeding 750W, and less than or equal to 2.2kW)[ ]  (7) ３相で2.2kWを超え3.7kW以下のもの (Three phase, Exceeding 2.2kW, and less than or equal to 3.7kW)[ ]  (8) ３相で3.7kWを超え7.5kW以下のもの (Three phase, Exceeding 3.7kW, and less than or equal to 7.5kW)[ ]  (9) ３相で7.5kWを超えるもの (Three phase, Exceeding 7.5kW) |
|  | 極 (Poles) | [ ]  (1) 単極のもの (Single pole)[ ]  (2) ２極以上のもの (Two or more poles) |
|  | 接続する電線の種類 (Type of cable or cord to which connected) | [ ]  (1) 銅のもの (Copper)[ ]  (2) その他のもの (Others) |
|  | 接点の材料 (Contact material) | [ ]  (1) 銀のもの又は銀合金のもの (Silver or silver alloy)[ ]  (2) 銅のもの又は銅合金のもの (Copper or copper alloy)[ ]  (3) その他のもの (Others) |
|  | 動作圧力（圧力スイッチの場合に限る。） (Operating pressure (limited to pressure switches.)) | -- |
|  | 外郭の材料 (Outer case materials) | [ ]  (1) 金属のもの (Metal)[ ]  (2) 合成樹脂のもの (Plastic)[ ]  (3) その他のもの (Others) |
|  | 用途 (Application) | [ ]  (1) 電動機用のもの (For use with electric motors)[ ]  (2) 電磁開閉器操作用のもの (For use with electromagnetic switchgears)[ ]  (3) その他のもの (Others) |
|  | 防水構造 (Type of waterproof) | [ ]  (1) 防雨型のもの (Rainproof type)[ ]  (2) 防浸型のもの (Immersion proof type)[ ]  (3) 非防水型のもの (Non-waterproof type) |